## list of devices
id | device_name | custom_time | global_unit | passcode | ip_address | netmask | gateway | primary_dns | secondary_dns | mac_id | org_id | ethip | tcpip | manual_add | legacy_auth_code | status | network_config | device_config | sensor_config | relay_config | display_config | integrated_device_config | device_priority | equipment_number_1 | equipment_number_2 | level | unit_number | username | password | createdAt | updatedAt | device_type_id | custom_field_id
0 | New Device | 00:00 | Unit | 1234 | 192.168.1.1 | 255.255.255.0 | 192.168.1.1 | 8.8.8.8 | 8.8.4.4 | 00:1A:2B:3C:4D:5E | a0eebc99-9c0b-4ef8-bb6d-6bb9bd380a11 | TRUE | TRUE | FALSE | legacyCode | 1 | {} | {} | {} | {} | {} | {} | 10 | [6 empty] | 2025-09-18 17:42 | 2025-09-18 17:42 | 1
6 | MAESTRO_LDI |  |  |  | 192.168.10.204 |  |  |  |  | 00:1E:F8:00:00:20 | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 4 | AQI05-Level 3000RAR-SDFD |  |  | SDFD |  |  | 2025-09-23 14:20 | 2025-10-07 15:16 | 3 | 1
5 | DRIFT 1800 |  |  |  | 192.168.10.65 |  |  |  |  | 00:01:C0:2D:C3:4D | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 5 | AQI05-Level 3000RAR-SDFDS |  |  | SDFDS |  |  | 2025-09-23 14:20 | 2025-10-07 15:16 | 3 | 1
3 | C-Node |  |  |  | 192.168.10.60 |  |  |  |  | E0:84:F3:00:03:13 | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 7 | PSW01-Level 3000RAR-DSF |  |  | DSF |  |  | 2025-09-23 14:20 | 2025-10-07 15:16 | 6 | 1
4 | DRIFT 1600 |  |  |  | 192.168.10.203 |  |  |  |  | 00:01:C0:33:C3:0E | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 6 | AQI05-Level 3000RAR-SDFS |  |  | SDFS |  |  | 2025-09-23 14:20 | 2025-10-07 15:16 | 3 | 1
2 | B-Node |  |  |  | 192.168.10.63 |  |  |  |  | E0:84:F3:00:0E:5A | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 8 | PSW01-Level 3000RAR-DFF |  |  | DFF |  |  | 2025-09-23 14:20 | 2025-10-07 15:16 | 6 | 1
1 | A-Node |  |  |  | 192.168.10.64 |  |  |  |  | E0:84:F3:00:04:7B | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 9 | PSW01-Level 3000RAR-DFDS |  |  | DFDS |  |  | 2025-09-23 14:20 | 2025-10-07 15:16 | 6 | 1
8 | Vigilante AQS V2 |  |  |  | 192.168.10.223 |  |  |  |  | 00:01:C0:38:91:B9 | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | [6 empty] | 3 | AQI05-Level 3000RAR-SDFSF |  |  | SDFSF |  |  | 2025-09-23 14:21 | 2025-10-07 15:16 | 3 | 1
12 | Marquee Display |  |  |  | 192.168.10.211 |  |  |  |  | 00:01:C0:38:92:17 | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | {'_id': '6786e056f5d136fafddd08a6', 'device_id': '6786e052f5d136fafddd08a0', 'network_type': 'DHCP', 'net_device_name': 'eth0', 'connection_name': 'Wired connection 1', 'forwarding': False, 'mac': '00:01:c0:38:92:17', 'address': '192.168.10.211', 'netmask': '255.255.255.0', 'gateway': '192.168.10.1', 'primary_dns': '192.168.10.5', 'secondary_dns': '192.168.10.6', 'tcpip': True, 'ethip': False, 'discovery': True, 'resetting': False, 'connected': True, 'created_date': '2025-01-14T22:08:18.990Z', 'modified_date': '2025-01-14T22:08:18.990Z', 'status': True, 'commTimeOut': '5000'} | {'lines': [{'_id': 1, 'line': 1, 'name': 'param1', 'unit': 'unit1', 'paramId': '-1', 'isUserText': True, 'userText': 'HHHHHHHHHHH', 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'userText', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 2, 'line': 2, 'name': 'param2', 'unit': 'unit2', 'paramId': '-1', 'isUserText': False, 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 3, 'line': 3, 'name': 'param3', 'unit': 'unit3', 'paramId': '-1', 'isUserText': False, 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 4, 'line': 4, 'name': 'param4', 'unit': 'unit4', 'paramId': '-1', 'isUserText': True, 'userText': 'HHHHHHHHHHH', 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'userText', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 5, 'line': 5, 'name': 'param5', 'unit': 'unit5', 'paramId': '-1', 'isUserText': True, 'userText': 'HHHHHHHHHHH', 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'userText', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 6, 'line': 6, 'name': 'param6', 'unit': 'unit6', 'paramId': '-1', 'isUserText': False, 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 7, 'line': 7, 'name': 'param7', 'unit': 'unit7', 'paramId': '-1', 'isUserText': False, 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}, {'_id': 8, 'line': 8, 'name': 'param8', 'unit': 'unit8', 'paramId': '-1', 'isUserText': True, 'userText': 'HHHHHHHHHHH', 'value': '0.0', 'color': 'Amber', 'isFlashing': False, 'format': '5.1', 'type': 'userText', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O2', 'flash': '^H0'}], 'diagnostics_data': {'timeSinceLastPoll': '1130889.568', 'relayStatus': {'relay1': False, 'relay2': False, 'relay3': False}}, 'relay_config': [{'_id': 1, 'isPulse': False, 'time': '5000', 'failureMode': 'failOpen', 'value': False, 'valuem': False}, {'_id': 2, 'isPulse': False, 'time': '5000', 'failureMode': 'failOpen', 'value': False, 'valuem': False}, {'_id': 3, 'isPulse': False, 'time': '5000', 'failureMode': 'failOpen', 'value': False, 'valuem': False}], '_id': '6786e052f5d136fafddd08a0', 'device_name': 'Marquee Display', 'location': '@Maestro', 'hardware_version': 1, 'software_version': 3.2, 'system_settings': {'timezone_offset': 5, 'history_length': 24, 'update_rate': 24, 'day_savings_offset': False, 'pause_rate': '03', 'keypad_dp': True, 'keypad_device_name': True, 'keypad_location': True, 'shift_length': 8, 'network_time': True, 'ntp_domain_name': '', 'custom_datetime': '2025-01-14T22:08:18.989Z', 'server_time': 24, 'ntp_server_address': 'time1.google.com'}, 'global_message_type': 'eip', 'global_message_web': {'_id': '6786e052f5d136fafddd08a1', 'text_line': '', 'colour': 'Amber', 'is_enabled': False, 'is_written': False, 'is_flashing': False}, 'global_message_eip': {'_id': '6786e052f5d136fafddd08a2', 'text_line': '', 'colour': 'Amber', 'is_enabled': False, 'is_written': False, 'is_flashing': False}, 'status': True} | [5 empty] | MRQ05-Level 3000RAR-5435 |  |  | 5435 |  |  | 2025-10-07 21:05 | 2025-10-08 20:24 | 2 | 1
7 | Marquee Display |  |  |  | 192.168.10.61 |  |  |  |  | 00:01:C0:2F:FB:08 | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | Og== | 0 | {'_id': '67856a5c5846d03581a5fef6', 'device_id': '67856a585846d03581a5fef0', 'network_type': 'Static', 'net_device_name': 'eth0', 'connection_name': 'Wired connection 1', 'forwarding': False, 'mac': '00:01:C0:2F:FB:08', 'address': '192.168.10.61', 'netmask': '255.255.255.0', 'gateway': '192.168.10.1', 'primary_dns': '192.168.10.5', 'secondary_dns': '192.168.10.6', 'tcpip': True, 'ethip': False, 'discovery': True, 'resetting': False, 'connected': True, 'created_date': '2025-01-13T19:32:40.817Z', 'modified_date': '2025-01-13T19:32:40.817Z', 'status': True, 'commTimeOut': '5000'} | {'lines': [{'_id': 1, 'line': 1, 'name': 'A1-Vel', 'unit': 'ftmin', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '62.9', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': False, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 2, 'line': 2, 'name': 'A1-Vol', 'unit': 'kcfm', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '0.6', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': False, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 3, 'line': 3, 'name': 'CO', 'unit': 'ppm', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '0.0', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 4, 'line': 4, 'name': 'CO2', 'unit': '%', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '0.1', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 5, 'line': 5, 'name': 'A1-Mass', 'unit': 'lb/m', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '49.5', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 6, 'line': 6, 'name': 'Temp', 'unit': 'C', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '23.2', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 7, 'line': 7, 'name': 'Humidity', 'unit': '%', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '40.1', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}, {'_id': 8, 'line': 8, 'name': 'BP', 'unit': 'kPa', 'paramId': '-1', 'isUserText': False, 'userText': 'HHHHHHHHHHHHHHHHHHHH', 'value': '99.6', 'color': 'Green', 'isFlashing': False, 'format': '5.1', 'type': 'parameter', 'deviceName': 'Marquee Display', 'dynamicText': '', 'isEnable': True, 'isTimeoutEnabled': True, 'lineColorFlashSource': 'modbus', 'lineErrorText': '***', 'isFailColorSourceWeb': True, 'lineColor': '^O1', 'flash': '^H0'}], 'diagnostics_data': {'timeSinceLastPoll': '0.746', 'relayStatus': {'relay1': False, 'relay2': False, 'relay3': False}}, 'relay_config': [{'_id': 1, 'isPulse': False, 'time': '5000', 'failureMode': 'failOpen', 'value': False, 'valuem': False}, {'_id': 2, 'isPulse': False, 'time': '5000', 'failureMode': 'failOpen', 'value': False, 'valuem': False}, {'_id': 3, 'isPulse': False, 'time': '5000', 'failureMode': 'failOpen', 'value': False, 'valuem': False}], '_id': '67856a585846d03581a5fef0', 'device_name': 'Marquee Display', 'location': '@Maestro', 'hardware_version': 1, 'software_version': 3.2, 'system_settings': {'timezone_offset': 5, 'history_length': 24, 'update_rate': 24, 'day_savings_offset': False, 'pause_rate': '03', 'keypad_dp': True, 'keypad_device_name': True, 'keypad_location': True, 'shift_length': 8, 'network_time': True, 'ntp_domain_name': '', 'custom_datetime': '2025-01-13T19:32:40.816Z', 'server_time': 24, 'ntp_server_address': 'time1.google.com'}, 'global_message_type': 'eip', 'global_message_web': {'_id': '67856a585846d03581a5fef1', 'text_line': '', 'colour': 'Amber', 'is_enabled': False, 'is_written': False, 'is_flashing': False}, 'global_message_eip': {'_id': '67856a585846d03581a5fef2', 'text_line': '', 'colour': 'Amber', 'is_enabled': False, 'is_written': False, 'is_flashing': False}, 'status': True} |  |  |  |  | 10 | MRQ05-Level 3000RAR-DSDS |  |  | DSDS |  |  | 2025-09-23 14:20 | 2025-10-08 20:24 | 2 | 1
10 | ENG-VAQS1-33 |  |  |  | 192.168.10.194 |  |  |  |  | 00:1E:F8:00:10:3B | edfdc8a8-d692-4bd4-8050-641b0c25518e | FALSE | TRUE | FALSE | YWRtaW46YWRtaW4= | 0 | {} | {'network': {}, 'ports': {'configured_ports': {}}, 'protocol': {}, 'marquee': {}, 'time': {'formatted_date': None}, 'board': {}, 'gas_sensor_1': {}, 'gas_sensor_2': {}, 'diagnostic': {'Device': {'buildDate': 'Apr 14 2022 13:38:59', 'version': 'v4.21', 'macAddress': '00:1E:F8:00:10:3B', 'iPAddress': '192.168.10.194', 'deviceName': 'ENG-VAQS1-33', '': ''}, 'Status': {'lastReset': '01/02/00 20:00:00', 'boardTemp': '35.5 C', 'pollTimer': '1967', 'errorCode': '30', '': ''}}, 'airconf_1': {}, 'airconf_2': {}, 'analog_out': {}, 'analog_out_test': {}, 'analog_out_relays': {}, 'climate_ptx': {}, 'ad4_1': {}, 'ad4_2': {}, 'device_version': {'hardware_version': '3', 'software_version': 'v4.21'}} | {'sensor_diagnostics': {'airflow': [{'name': 'af1', 'status': {'message': 'Not Installed', 'state': 'Not Installed'}, 'com_status1': 'Error', 'com_status2': 'Error', 'pulse_quality1': ' 0 %', 'pulse_quality2': ' 0 %', 'transit_time1': '6042 uS', 'transit_time2': '6042 uS', 'receive_count1': ' 0', 'receive_count2': ' 0', 'receive_miss1': ' 0', 'receive_miss2': ' 0', 'voltage1': 0, 'voltage2': 0, 'temperature1': 0, 'temperature2': 0}, {'name': 'af2', 'status': {'message': 'Not Installed', 'state': 'Not Installed'}, 'com_status1': 'Error', 'com_status2': 'Error', 'pulse_quality1': ' 0 %', 'pulse_quality2': ' 0 %', 'transit_time1': '6042 uS', 'transit_time2': '6042 uS', 'receive_count1': ' 0', 'receive_count2': ' 0', 'receive_miss1': ' 0', 'receive_miss2': ' 0', 'voltage1': 0, 'voltage2': 0, 'temperature1': 0, 'temperature2': 0}, {'name': 'af3', 'status': {'message': 'Not Installed', 'state': 'Not Installed'}, 'com_status1': 'Error', 'com_status2': 'Error', 'pulse_quality1': ' 0 %', 'pulse_quality2': ' 0 %', 'transit_time1': '6042 uS', 'transit_time2': '6042 uS', 'receive_count1': ' 0', 'receive_count2': ' 0', 'receive_miss1': ' 0', 'receive_miss2': ' 0', 'voltage1': 0, 'voltage2': 0, 'temperature1': 0, 'temperature2': 0}, {'name': 'af4', 'status': {'message': 'Not Installed', 'state': 'Not Installed'}, 'com_status1': 'Error', 'com_status2': 'Error', 'pulse_quality1': ' 0 %', 'pulse_quality2': ' 0 %', 'transit_time1': '6042 uS', 'transit_time2': '6042 uS', 'receive_count1': ' 0', 'receive_count2': ' 0', 'receive_miss1': ' 0', 'receive_miss2': ' 0', 'voltage1': 0, 'voltage2': 0, 'temperature1': 0, 'temperature2': 0}], 'gas': [{'name': 'gas1', 'message': 'Span Cal Fault', 'status_msg': '0x0003', 'value': '1.00', 'stel': '33.80', 'twa': '33.80', 'caldate': '22/02/2023', 'factdate': '00/00/2000', 'status_hex': '0x0003', 'span_gas': '1 ppm', 'hw_version': '', 'sw_version': '', 'remote_board_sw_version': '', 'serial_number': '7934', 'temperature': '33.80', 'temperature_unit': 'C', 'cal_timer': '0', 'last_cal_date': '22/02/2023'}, {'name': 'gas2', 'message': 'Sensor Missing', 'status_msg': '0x8000', 'value': '0.00', 'stel': '0.00', 'twa': '0.00', 'caldate': '...', 'factdate': '...', 'status_hex': '0x8000', 'span_gas': '0 ppm', 'hw_version': '', 'sw_version': '', 'remote_board_sw_version': '', 'serial_number': '0', 'temperature': '0.00', 'temperature_unit': 'C', 'cal_timer': '0', 'last_cal_date': '...'}, {'name': 'gas3', 'message': 'Not Configured', 'status_msg': '0x0000', 'value': '0.00', 'stel': '0.00', 'twa': '0.00', 'caldate': '...', 'factdate': '...', 'status_hex': '0x0000', 'span_gas': '0 ppm', 'hw_version': '', 'sw_version': '', 'remote_board_sw_version': '', 'serial_number': '0', 'temperature': '0.00', 'temperature_unit': 'C', 'cal_timer': '0', 'last_cal_date': '...'}, {'name': 'gas4', 'message': 'Not Configured', 'status_msg': '0x0000', 'value': '0.00', 'stel': '0.00', 'twa': '0.00', 'caldate': '...', 'factdate': '...', 'status_hex': '0x0000', 'span_gas': '0 ppm', 'hw_version': '', 'sw_version': '', 'remote_board_sw_version': '', 'serial_number': '0', 'temperature': '0.00', 'temperature_unit': 'C', 'cal_timer': '0', 'last_cal_date': '...'}, {'name': 'gas5', 'message': 'Not Configured', 'status_msg': '0x0000', 'value': '0.00', 'stel': '0.00', 'twa': '0.00', 'caldate': '...', 'factdate': '...', 'status_hex': '0x0000', 'span_gas': '0 ppm', 'hw_version': '', 'sw_version': '', 'remote_board_sw_version': '', 'serial_number': '0', 'temperature': '0.00', 'temperature_unit': 'C', 'cal_timer': '0', 'last_cal_date': '...'}, {'name': 'gas6', 'message': 'Not Configured', 'status_msg': '0x0000', 'value': '0.00', 'stel': '0.00', 'twa': '0.00', 'caldate': '...', 'factdate': '...', 'status_hex': '0x0000', 'span_gas': '0 ppm', 'hw_version': '', 'sw_version': '', 'remote_board_sw_version': '', 'serial_number': '0', 'temperature': '0.00', 'temperature_unit': 'C', 'cal_timer': '0', 'last_cal_date': '...'}], 'board': [{'temp': '35.7 °C', 'poll_time': ' 2253 seconds'}]}} |  |  |  | 1 | AQI02-Level 3000RAR-34 | 34 |  | 34 |  | admin | 2025-10-07 15:16 | 2025-10-08 20:24 | 5 | 1

## DeviceSensorMasters
sensor_id | fk_device_id | device_sensor_id | local_board | board | subport | sensor_config | location | sensor_status | priority | config_type | sensor_type | serial_number | is_configured | selected_items | createdAt | updatedAt | device_id
0 | 0 |  |  |  |  | {'id': 'test'} |  |  | 0 | 0 | 0 | 0 | 0 |  | 2025-09-18 17:42 | 2025-09-18 17:42 | 0
21 | 8 | d9af04ce-0bd3-4a29-b96c-b3a077b9f3a4 | 0 | 0 | 0 | {'id': 'd9af04ce-0bd3-4a29-b96c-b3a077b9f3a4', 'board': 0, 'subport': 0, 'local_board': '', 'remote': False, 'name': 'Climate Sensor', 'location': 'Integral', 'temperature_unit': '', 'humidity_unit': '', 'pressure_unit': '', 'wbgt_calculation': 'US', 'temperature_offset': 0, 'humidity_offset': 0, 'pressure_offset': 0, 'error_timeout': 60} | Integral | true | 1 | 3 |  | 333333 | 1 | ['Humidity', 'Wet Bulb', 'WBGT'] | 2025-10-01 18:24 | 2025-10-08 20:24 | 8
24 | 10 | vaqs1-gas-10-1 | 1 | 1 | 1 | {} | Gas 1 | true | 1 | 2 | 1 | 7934 | 1 |  | 2025-10-07 15:17 | 2025-10-08 20:24 | 10
25 | 10 | vaqs1-integral_climate-10-1 | 1 | 1 | 1 | {} | Integral | false | 0 | 3 |  | 3333 | 0 |  | 2025-10-07 15:17 | 2025-10-08 20:24 | 10
9 | 5 | 7b4eeeec-e8da-422c-8e45-19ea1e38c737 | ttymxc5 | 0 | 1 | {'id': '7b4eeeec-e8da-422c-8e45-19ea1e38c737', 'local_board': 'ttymxc5', 'board': 0, 'subport': 1, 'remote': False, 'name': 'Gas', 'location': '1800L_RAR', 'gas_sensor_type': 17, 'error_timeout': 5, 'alarms': 'High', 'inst_warning': 5, 'stel_warning': 0, 'twa_warning': 0, 'inst_alarm': 7, 'stel_alarm': 0, 'twa_alarm': 0, 'inst_enable': True, 'stel_enable': False, 'twa_enable': False, 'configured': False} | 1800L_RAR | true | 2 | 2 | 17 | 0 | 1 |  | 2025-09-23 14:20 | 2025-10-08 20:24 | 5
15 | 9 | fd5adb3c-a592-417c-90bb-4fcc93e99496 | 0 | 0 | 0 | {'id': 'fd5adb3c-a592-417c-90bb-4fcc93e99496', 'board': 0, 'subport': 0, 'local_board': '', 'remote': False, 'name': 'Climate Sensor', 'location': 'Integral', 'temperature_unit': '', 'humidity_unit': '', 'pressure_unit': '', 'wbgt_calculation': 'US', 'temperature_offset': 0, 'humidity_offset': 0, 'pressure_offset': 0, 'error_timeout': 60} | Integral | true | 2 | 3 |  | 333333 | 1 | ['Temp', 'Humidity', 'Wet Bulb'] | 2025-09-23 14:22 | 2025-09-25 13:52
1 | 4 | 11b1704a-88a6-4e6e-9079-d89d74bdd71b | 0 | 0 | 0 | {'id': '11b1704a-88a6-4e6e-9079-d89d74bdd71b', 'board': 0, 'subport': 0, 'local_board': '', 'remote': False, 'name': 'Climate Sensor', 'location': 'Integral', 'temperature_unit': '', 'humidity_unit': '', 'pressure_unit': '', 'wbgt_calculation': 'US', 'temperature_offset': 0, 'humidity_offset': 0, 'pressure_offset': 0, 'error_timeout': 60} | Integral | true | 5 | 3 |  | 333333 | 1 | ['Temp', 'Humidity'] | 2025-09-23 14:20 | 2025-10-08 20:24 | 4
2 | 4 | 3ecd5711-990b-43bc-b565-7d0672b80ccf | ttymxc4 | 0 | 1 | {'id': '3ecd5711-990b-43bc-b565-7d0672b80ccf', 'local_board': 'ttymxc4', 'board': 0, 'subport': 1, 'remote': False, 'name': 'Gas', 'location': 'Integral', 'gas_sensor_type': 2, 'error_timeout': 60, 'alarms': 'None', 'inst_warning': 0, 'stel_warning': 0, 'twa_warning': 0, 'inst_alarm': 0, 'stel_alarm': 0, 'twa_alarm': 0, 'inst_enable': True, 'stel_enable': False, 'twa_enable': False, 'configured': False} | Integral | true | 1 | 2 | 2 | 6020 | 1 |  | 2025-09-23 14:20 | 2025-10-08 20:24 | 4
23 | 5 | d3b03b0a-a7f5-4565-9d93-142b10931bcc | 1 | 0 | 1 | {'id': 'd3b03b0a-a7f5-4565-9d93-142b10931bcc', 'board': 0, 'subport': 1, 'name': 'Airflow 1', 'screen_name': 'AF', 'location': '1800L', 'installation_type': 'Drift', 'flow_direction': 'Normal', 'fail_safe_function': 'Fail Zero', 'error_timeout': 20, 'alignment_laser': False, 'face_to_face': 6.638543787566599, 'face_to_face_measured': False, 'linear_distance': 5.998463808049158, 'cross_sectional_area': 0.9996098177291391, 'range_min': 0, 'range_max': 200, 'alarms': 'None', 'alarm_parameter': 'Volumetric', 'low_warning_level': 4.716981132075471, 'high_warning_level': 0, 'low_alarm_level': 2.830188679245283, 'high_alarm_level': 28.30188679245283, 'smoothing_factor': 10, 'transit_time_window': 0, 'cal_type': 'None', 'single_point_calibration': 1, 'multi_point_measured_value_20': 1, 'multi_point_measured_value_40': 2, 'multi_point_measured_value_60': 3, 'multi_point_measured_value_80': 4, 'multi_point_measured_value_100': 5, 'multi_point_required_value_20': 1, 'multi_point_required_value_40': 2, 'multi_point_required_value_60': 3, 'multi_point_required_value_80': 4, 'multi_point_required_value_100': 5, 'temperature_sensor_offset_1': 0, 'temperature_sensor_offset_2': 0, 'attached_climate_id': 90, 'sensor_gain': 5} | 1800L | true | 3 | 1 |  | 11111 | 1 |  | 2025-10-03 15:11 | 2025-10-08 20:24 | 5
16 | 9 | 49cb66b5-a798-4943-91dc-06fc9954607c | 1 | 0 | 1 | {'id': '49cb66b5-a798-4943-91dc-06fc9954607c', 'board': 0, 'subport': 1, 'name': 'Airflow', 'screen_name': 'AF', 'location': 'Remote', 'installation_type': 'Drift', 'flow_direction': 'Normal', 'fail_safe_function': 'Fail Zero', 'error_timeout': 60, 'alignment_laser': False, 'face_to_face': 2, 'face_to_face_measured': False, 'linear_distance': 1, 'cross_sectional_area': 1, 'range_min': 0, 'range_max': 100, 'alarms': 'None', 'alarm_parameter': 'Velocity', 'low_warning_level': 0, 'high_warning_level': 0, 'low_alarm_level': 0, 'high_alarm_level': 0, 'smoothing_factor': 10, 'transit_time_window': 0, 'cal_type': 'None', 'single_point_calibration': 1, 'multi_point_measured_value_20': 1, 'multi_point_measured_value_40': 2, 'multi_point_measured_value_60': 3, 'multi_point_measured_value_80': 4, 'multi_point_measured_value_100': 5, 'multi_point_required_value_20': 1, 'multi_point_required_value_40': 2, 'multi_point_required_value_60': 3, 'multi_point_required_value_80': 4, 'multi_point_required_value_100': 5, 'temperature_sensor_offset_1': 0, 'temperature_sensor_offset_2': 0, 'attached_climate_id': 1, 'sensor_gain': 6} | Remote | true | 1 | 1 |  | 11111 | 1 |  | 2025-09-23 14:22 | 2025-09-25 13:52
18 | 5 | 664f511c-bac3-4bcd-9198-e04d362f9cbb | ttymxc4 | 0 | 1 | {'id': '664f511c-bac3-4bcd-9198-e04d362f9cbb', 'local_board': 'ttymxc4', 'board': 0, 'subport': 1, 'remote': False, 'name': 'Gas', 'location': '1800L_RAR', 'gas_sensor_type': 2, 'error_timeout': 5, 'alarms': 'High', 'inst_warning': 20, 'stel_warning': 0, 'twa_warning': 0, 'inst_alarm': 25, 'stel_alarm': 0, 'twa_alarm': 0, 'inst_enable': True, 'stel_enable': False, 'twa_enable': False, 'configured': False} | 1800L_RAR | true | 1 | 2 | 2 | 6021 | 1 |  | 2025-09-24 14:50 | 2025-10-08 20:24 | 5
5 | 4 | f49fb3eb-7c4d-4a8c-96e2-8622f8917968 | ttymxc6 | 0 | 1 | {'id': 'f49fb3eb-7c4d-4a8c-96e2-8622f8917968', 'local_board': 'ttymxc6', 'board': 0, 'subport': 1, 'remote': False, 'name': 'Gas', 'location': 'Integral', 'gas_sensor_type': 11, 'error_timeout': 60, 'alarms': 'None', 'inst_warning': 0, 'stel_warning': 0, 'twa_warning': 0, 'inst_alarm': 0, 'stel_alarm': 0, 'twa_alarm': 0, 'inst_enable': True, 'stel_enable': False, 'twa_enable': False, 'configured': False} | Integral | true | 3 | 2 | 11 | 6091 | 1 |  | 2025-09-23 14:20 | 2025-10-08 20:24 | 4
4 | 4 | b2cf2f78-ab1f-4f4a-b08e-d2797e6839fc | ttymxc1 | 0 | 1 | {'id': 'b2cf2f78-ab1f-4f4a-b08e-d2797e6839fc', 'local_board': 'ttymxc1', 'board': 0, 'subport': 1, 'remote': False, 'name': 'Gas', 'location': 'Integral', 'gas_sensor_type': 8, 'error_timeout': 60, 'alarms': 'None', 'inst_warning': 0, 'stel_warning': 0, 'twa_warning': 0, 'inst_alarm': 0, 'stel_alarm': 0, 'twa_alarm': 0, 'inst_enable': True, 'stel_enable': False, 'twa_enable': False, 'configured': False} | Integral | true | 4 | 2 | 8 | 6080 | 1 |  | 2025-09-23 14:20 | 2025-10-08 20:24 | 4
3 | 4 | 5b500945-1ac2-49ad-86a3-e24f8a4a4189 | ttymxc5 | 0 | 1 | {'id': '5b500945-1ac2-49ad-86a3-e24f8a4a4189', 'local_board': 'ttymxc5', 'board': 0, 'subport': 1, 'remote': False, 'name': 'Gas', 'location': 'Integral', 'gas_sensor_type': 4, 'error_timeout': 60, 'alarms': 'None', 'inst_warning': 0, 'stel_warning': 0, 'twa_warning': 0, 'inst_alarm': 0, 'stel_alarm': 0, 'twa_alarm': 0, 'inst_enable': True, 'stel_enable': False, 'twa_enable': False, 'configured': False} | Integral | true | 2 | 2 | 4 | 6608 | 1 |  | 2025-09-23 14:20 | 2025-10-08 20:24 | 4
6 | 5 | 90a0fc84-9228-41a8-80d4-17ac86cefa56 | 0 | 0 | 0 | {'id': '90a0fc84-9228-41a8-80d4-17ac86cefa56', 'board': 0, 'subport': 0, 'local_board': '', 'remote': False, 'name': 'Climate Sensor', 'location': 'Integral', 'temperature_unit': '', 'humidity_unit': '', 'pressure_unit': '', 'wbgt_calculation': 'US', 'temperature_offset': 0, 'humidity_offset': 0, 'pressure_offset': 0, 'error_timeout': 60} | Integral | true | 4 | 3 |  | 333333 | 1 | ['Temp', 'Humidity', 'Wet Bulb', 'WBGT'] | 2025-09-23 14:20 | 2025-10-08 20:24 | 5